## ELECTRICAL PARTS
Contact Name: | ADNEN HAMROONY
Private sale YES/NO | YES |  | CONDITIONS:
Business Name: | Industrial Hard 2 Find Parts |  | NIB | NEVER USED SURPLUS, IN MANUFACTURER'S ORIGINAL PACKAGING
VAT / EORI: | 1753019/F |  | NNB | NEVER USED SURPLUS, NO LONGER IN MANUFACTURER'S ORIGINAL PACKAGING
Street Address: | Rue Taher Ben Achour N°19
City: | TEBOULBA |  | REM | USED SURPLUS. UNIT IS FULLY OPERATIONAL
State: | MONASTIR
Postal Code: | 5080 |  | BROKE | NO LONGER FUNCTIONING / IN NEED OF REPAIR
Country: | TUNISIA
Phone: | (+216) 29 529 165
Fax: | (+216) 73 561 136
Email Address: | hamrouni,adnene@gmail,com
Date: | 24-09-2025
Qty | Manufacturer | Part Number | Description | Condition | Est. New Value Ea.?
PROGRAMMABLE LOGIC CONTROLLERS
1 | PANASONIC | AIGT-0032B | SMALL TOUCH SCREEN BLACK COLOR 24VDC RS422 TYPE | REM | 584
1 | MATSUSHITA ELECTRIC PANASONIC | FPG-C32T2H | PLC CONTROL COMMUNICATION MODULE 16 INPUTS AND 16 OUTPUTS 24VDC 32 IO TRANSISTOR NPN | REM | 1658
1 | MATSUSHITA ELECTRIC PANASONIC | FPG-C32T2H-A | PROGRAMMABLE CONTROL UNIT PLC MODULE 24 VDC 0.5 AMP 16 INPUT - 16 TRANS. OUTPUT NPN | REM | 682
1 | MATSUSHITA ELECTRIC PANASONIC | FPG-C32T2 | PLC CONTROL UNIT PROGRAMMABLE CONTROL UNIT 24 VDC 0.5 16 INPUT - 16 TRANS. OUTPUT NPN | REM | 591
1 | MATSUSHITA ELECTRIC PANASONIC | FP0-C32CP-A | CONTROL UNIT 24 VDC 0.3 AMP | REM | 573
1 | MATSUSHITA ELECTRIC PANASONIC | FP0-C14RS-A | CONTROL UNIT 8 INPUT 6 RELAY OUTPUT 2.7K 24VDC | REM | 184
1 | MATSUSHITA ELECTRIC PANASONIC | FP0-TC8 | THERMOCOUPLE UNIT 8 IN J, K, T AND R TYPE | REM | 982
1 | MATSUSHITA ELECTRIC PANASONIC | FP0-E8RS | EXPANSION UNIT DIGITAL 2 AMP 24 VDC 4 INPUT 4 RELAY OUTPUT | REM | 178
1 | MATSUSHITA ELECTRIC NAIS | FP0-E16T-A | EXPANSION UNIT 8 IN 8TR. OUT NPN | REM | 366
3 | MATSUSHITA ELECTRIC PANASONIC | FP0-E16RS-A | EXPANSION UNIT 8 INPUT / 8 OUTPUT | REM | 638
1 | MATSUSHITA ELECTRIC NAIS | FP0-E32T | EXPANSION MODULE 16IN 16 TRANSISTOR OUT NPN 0.1-1 AMP 24 V | REM | 426
1 | MATSUSHITA ELECTRIC NAIS | FP0-E32T-A | MATSUSHITA ELECTRIC NAIS FP0-E32T-A FPO EXPANSION MODULE EXPANSION UNIT 24VDC 21.6 - 26.4 VDC | REM | 426
1 | SIEMENS | 6ES7214-1AD23-0XB0 | CPU 224 DC POWER SUPPLY DIGITAL I/O 14 INPUT 10 OUTPUT | REM | 1403
1 | SIEMENS | 6ES7272-0AA20-0YA0 | OPERATOR INTERFACE TD200 FOR S7-200 2 LINE 20 CHARACTERS/LINE TEXT DISPLAY MONOCHROME RS-485 24 VDC | REM | 1015
1 | SIEMENS | 6ES7214-1BC01-0XB0 | SIMATIC S7-200 CPU 214 24 IO, 8KB, AC | REM | 862
1 | SIEMENS | 6ES5103-8MA03 | SIEMENS SIMATIC S5-100U CPU 103 | REM | 2201
1 | SIEMENS | 6ES5095-8MA03 | SIMATIC S5 95U Compact Controller (PLC) | REM | 2446
1 | SIEMENS | 6ES5101-8UA13 | SIMATIC S5 101U Central Controller (PLC) | REM | 694
2 | SIEMENS | 6ES5090-8MA01 | SIEMENS 6ES5-090-8MA01 6ES50908MA01 SIMATIC S5-90U PLC Compact CPU | REM | 709
1 | SIEMENS | 6ES7222-1HF21-0XA0 | 16 Relay Output 24V DC Digital Module For Siemens S7-200 PLC | REM | 187
1 | SIEMENS | 6ES7223-1BH21-0XA0 | 8 DI / 8 DO DC24V, INPUT 15-30 VDC, OUTPUT 21-28 VDC I/O Module For Siemens S7-22X CPU | REM | 471
5 | SIEMENS | 6ES5421-8MA12 | DIGITAL INPUT Module - 8DI,24V | REM | 128
5 | SIEMENS | 6ES5441-8MA11 | DIGITAL OUTPUT MODULE - 8DO,24V | REM | 304
4 | SIEMENS | 6ES5482-8MA13 | DIGITAL INPUT/OUTPUT MODULE NON-FLOATING, 16 INPUTS, 16 OUTPUTS 24 VDC; 0.5A | REM | 453
1 | SIEMENS | 6ES5482-8MA12 | DIGITAL INPUT/OUTPUT MODULE NON-FLOATING, 16 INPUTS, 16 OUTPUTS 24 VDC; 0.5A | REM | 365
1 | SIEMENS | 6ES5422-8MA11 | SIMATIC S5 DIGITAL INPUT MODULE | REM | 209
2 | SIEMENS | 6ES5375-1LA15 | EPROM, 8 KBYTES MEMORY MODULE | REM | 85
2 | SIEMENS | 6ES5375-8LA11 | EPROM, 8 KBYTES MEMORY MODULE | REM | 99
1 | SIEMENS | 6ES5375-0LC11 | EPROM, 2 KBYTES MEMORY MODULE | REM | 270
1 | SIEMENS | 6ES5605-0UC11 | Console PG605U 6ES5 605-0UC11 | REM | 1749
1 | WACHENDORFF ELEKTRONIK | OP1LS240 | OPERATOR INTERFACE FOR SIMATIC S5 PLC 24VDC 100MA OPUS-1 | REM | 300
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX-47-40 | CPU PROCESSOR MODULE | REM | 1000
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXAEM412 | INPUT MODULE FOR MODICON TSX ANALOG 4 CHANNELS +/-50 MV | REM | 2093
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXAEM821 | INPUT MODULE FOR MODICON TSX ANALOG 8 CHANNELS +/-10V FAST ANALOG | REM | 1463
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXASR401 | OUTPUT MODULE FOR MODICON TSX ANALOG 4 OUTPUTS 12 BITS +/-10V | REM | 1658
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXBLK4 | TERMINAL BLOCK 32 WAY FOR MODICON TSX | REM | 164
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXBLK7 | TERMINAL BLOCK FOR MODICON TSX DIGITAL MODULES 36 POINT 32 INPUTS | REM | 164
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXBLK8 | TERMINAL BLOCK FOR MODICON TSX DIGITAL MODULES 36 POINT 24 OUTPUTS | REM | 136
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXDET3212 | I/O MODULE 32 POINT 24 VDC | REM | 394
3 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXDST2472 | OUTPUT MODULE 24 POINT 0.5 AMP 24 VDC Estimated Value | REM | 802
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX-PCM-37 | PC MODULE COLOR | REM | 3349
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX-RKN-82 | RACK TSX 47-40/67-40 PLC RACK 8 SLOT Estimated Value | REM | 3857
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX-SUP-702R | POWER SUPPLY MODULE FOR TSX PLC SERIES 47/67/87 110/220 VAC 65 W | REM | 1920
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXSCM2011 | INTERFACE MODULE 2INT ISOLATED RS232C CARTRIDGE 2 CHANNEL | REM | 1628
2 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX-DET-3242 | INPUT MODULE 32 INPUT 24VDC | REM | 1090
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX3721001 | TSX MICRO PLC RACK WITH CONTROLLER 3 SLOT 90-264 VAC | REM | 2424
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSX3721101 | PLC BASE CONTROLLER TSX MICRO 3 SLOT 24 VDC | REM | 1197
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXRKZ02 | EXTENSION RACK TSX 37 SERIES TSX MICRO 2 SLOTS | REM | 277
5 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXDMZ28DTK | TSX MICRO INPUT/OUTPUT MODULE - 16I/12Q - 24VDC - 0.5A | REM | 767
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXDSZ08T2 | DISCRETE OUTPUT MODULE 8 POINT 24 VDC SOLID STATE 0.5 MA | REM | 757
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXDEZ12D2 | INPUT MODULE 12 POINT 24 VDC DISCRETE W/SCREW TERM | REM | 576
1 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXDEZ12D2K | DISCRETE INPUT MODULE 24VDC 19-30V 7MA INPUT VOLTAGE 12 INP HE 10 CONN. | REM | 897
8 | SCHNEIDER ELECTRIC TELEMECANIQUE | TSXCDP301 | PREFORMED CABLE FOR MODICON MICRO PLC | REM | 67
1 | SCHNEIDER AUTOMATION | TSX-P57-102 | TSX PREMIUM PROCESSOR MODULE | REM | 1290
1 | SCHNEIDER AUTOMATION | TSXPSY2600 | TSX PREMIUM POWER SUPPLY MODULE - 100/240 VAC - 26W | REM | 978
1 | SCHNEIDER AUTOMATION | TSXDSY32T2K | TSX PREMIUM OUTPUT MODULE - 32Q - 24VDC - 0.1A - TR | REM | 1488
1 | SCHNEIDER AUTOMATION | TSXDEY32D2K | TSX PREMIUM INPUT MODULE - 32I - 24VDC - SINK CONN | REM | 1126
1 | SCHNEIDER AUTOMATION | TSX DMY28FK | TSX PREMIUM INPUT/OUTPUT MODULE - 16I/12Q - 24VDC - 0.5A | REM | 1956
3 | SCHNEIDER AUTOMATION | TSX07312428 | TSX NANO PLC MODICON SCHNEIDER AUTOMATION | REM | 1658
2 | SCHNEIDER AUTOMATION | TSX07EX1628 | TSX NANO PLC MODICON SCHNEIDER AUTOMATION | REM | 642
1 | SCHNEIDER AUTOMATION | TSX-07301-028 | TSX NANO PLC MODICON SCHNEIDER AUTOMATION | REM | 618
1 | TELEMECANIQUE | TSX-17-134-28 | TSX 1713428 AC 34 I/O Relays | REM | 3178
3 | TELEMECANIQUE | TSX-172-3428 | TSX 1723428 AC 34 I/O Relays | REM | 2018
2 | TELEMECANIQUE | TSX-172-4012 | TSX 1724012 AC 40 I/O Relays | REM | 1284
3 | TELEMECANIQUE | TSXDEF812 | TSX DEF 812 - 8 Isolated INPUTS MODULE | REM | 310
4 | TELEMECANIQUE | TSX-DSF-635 | TSX DSF 635 - 6 RELAYS OUTPUTS MODULE | REM | 469
1 | TELEMECANIQUE | TSXDSF612 | TSX DSF 612 - 6-POINT OUTPUT MODULE | REM | 484
1 | TELEMECANIQUE | TSX-T1070 | TSX T107 0 PROGRAMMER TERMINAL | REM | 2339
1 | TELEMECANIQUE | TSXT40710 | TSX T 40710 TSXT40710 PROGRAMMER TERMINAL + TS4 50 F Cartridge ¦ T407 PL7-2/TSX17 Lang.F | REM | 1155
1 | OMRON | C28P-CDR-A | OMRON SYSMAC C28P Programmable Controller | REM | 2006
1 | OMRON | NT20S-ST121-EV3 | OPERATOR INTERFACE, Touch panel, 5 inch display; 256 x 128 dots, 24 VDC, Beige | REM | 3082
1 | OMRON | CQM1-CPU43-E | OMRON CQM1-CPU43-E PLC CPU MODULE 16 POINT 24 VDC 10 MA PULSE INPUT: 12/24 VDC 12 MA PULSE OUTPUT: 5-24 VDC 30 MA | REM | 1200
2 | B&R | BRCOMP2-0 | B&R Compact PLC 16 INPUTS 24 VDC, 14 OUTPUTS 24 VDC | REM | 1474
1 | B&R | BBOX-CAN 01 | CAN interface module BBOX-CAN 01 | REM | 700
1 | B&R | 0AC401.9 | CONVERTER ENCODER - 5-24V 6.0W 100KHZ 500MA KOMP-DEC/2 | REM | 522
1 | FUJI ELECTRIC | MX100CM91 | PLC CONTROLLER REMOTE FILE I/O A H.02 S.01 | REM | 451
4 | FUJI ELECTRIC | MX100GT78 | 32 Point DC 12/24V Input Module | REM | 600
2 | FUJI ELECTRIC | MX100PT12 | 32 Point Transistor Output Module | REM | 136
1 | FUJI ELECTRIC | MX100PT21 | 16 Point Relay Output Module | REM | 788
1 | FUJI ELECTRIC HONEYWELL | MX100BS03 | 6 Slots I/O Base Unit | REM | 495
1 | CROUZET | MAS-10-RCD | MILLENIUM CONTROLLER RELAY 8AMP 24VDC | REM | 255
2 | Keyence | KV-10R | PLC Relay Controller + POWER SUPPLY 24V 0.8A | REM | 397
1 | ALLEN BRADLEY | 1747-L40C | SLC 500 PROCESSOR UNIT 40 I/0 1747-L40C | REM | 2181
1 | LEROY AUTOMATION | TES 32 EST | 16 ENTRÉES TOR N; 16 SORTIES TOR P 24V / 110MA | REM | 552
1 | SONOTEK | 06-03345 | CONTROLLER DISPLAY SONOFLUX SERIES 20 BUTTON 120 VAC 50/60 HZ 750 WATTS | REM | 625
1 | GE Fanuc | IC660EBD020S | Genius IO Block 2448Vdc 16PT Source IC660EBD020S | REM | 544
CONTACTORS
20 | FUJI ELECTRIC | SC-03/G | Contactor Coil Rated Voltage(V) DC24, 3-POLE, HP Ratings (3 PH) 11 Amp : 2 HP @ 200-240V, 5 HP @ 440-480V, 5 HP @ 480V, , 5 HP @ 550-600V, Rating (1 PH): 2.5 KW @ 200-240V, 4 KW @ 380-440V,1 NO aux contact installed | REM | 158
18 | FUJI ELECTRIC | SZ-A22 | Auxiliary Contact Block (2 NO + 2 NC) | REM | 27
1 | FUJI ELECTRIC | SRC50-4/F | AUXILIARY RELAY 5NO/5NC COIL 380-400/400VAC (5A5B) | REM | 164
1 | FUJI ELECTRIC | FMC-OT/GULS (4NO) | MOTOR STARTER, 24 VDC Coil, 4 N/O, 3~ 240V 10 A, 1~ 120V 15A | REM | 321
1 | SCHNEIDER ELECTRIC | LC1F225 | NON-REVERSING CONTACTOR 600VAC 225A WITH LX1FG220 CONTACTOR COIL 265/277V 220/230V 50/60HZ | REM | 1500
1 | SCHNEIDER ELECTRIC | LC1D18BD | CONTACTOR TESYS DECA 3 POLE 18 AMP 690 VAC 300 VDC 50/60 HZ 3 N/O SCREW TYPE TERMINAL | REM | 82
1 | SCHNEIDER ELECTRIC | LC1D09P7 | CONTACTOR TESYS D LC1D SERIES 9 AMP 3 POLE COIL 230 VAC 50/60Hz 690 VAC | REM | 33
1 | SCHNEIDER ELECTRIC | LP1K09004BD | Magnetic Contactor - 24 V DC coil - 3-POLE, 20 AMP WITH LA4KE1B Surge Suppressor | REM | 35
1 | SCHNEIDER ELECTRIC | LP1K0601BD | Magnetic Contactor - 24 V DC coil - 3-POLE, 15 AMP + 1 NC contact | REM | 37
3 | SCHNEIDER ELECTRIC | LP2K0601BD | TeSys K reversing contactor | REM | 82
1 | TELEMECANIQUE | LC1-D633 | Magnetic Contactor Coil 380 VAC, 3-POLE, 80 AMP, 1 NO + 1 NC aux contact installed | REM | 493
2 | TELEMECANIQUE | LC1-D254-A65 | Magnetic Contactor Coil 220 VAC, 4-POLE, 40 AMP | REM | 304
1 | TELEMECANIQUE | LC1D128.A65 | Magnetic Contactor Coil 220 VAC, 3-POLE, 25 AMP, 1 NO aux contact installed + LA1-D11 2P CONTACT BLOCK (1NO & 1NC) | REM | 108
1 | TELEMECANIQUE | LC1D093U7A65 | CONTACTOR 25 AMP 660 V 220-240 VAC COIL 50/60 HZ | REM | 236
1 | TELEMECANIQUE | LC1D093.A65 | Magnetic Contactor Coil 48 VAC 50 Hz, 4-POLE, 20 AMP, 1 NO aux contact installed | REM | 236
1 | TELEMECANIQUE | LC1-D2501-B7 | CONTACTOR 3 PHASE 3 POLE + 1 N.C. 25 AMPS COIL: 24 VAC 50/60 HZ | REM | 283
4 | TELEMECANIQUE | LC1D12008B7 | CONTACTOR 12AMP 4POLE 575VAC 24VAC COIL | REM | 259
3 | TELEMECANIQUE | LC1D0910M7 | CONTACTOR 3 POLE 3 PHASE 9 AMP 600V 1 N/O AUX CONTACT 220/230 VAC 50/60 HZ COIL | REM | 277
3 | TELEMECANIQUE | LC1-D1210-B7 | CONTACTOR 12 AMP 3 POLE 24 VAC 50/60 HZ 7.5 HP / 5.5 KW | REM | 129
2 | TELEMECANIQUE | LC1 D1201B7 | CONTACTOR LC1 SERIES 3 POLE FOR MOTOR CONTROL 12 AMP 24 VAC W/ 1-NC AUX (LC1D1201S94) | REM | 201
1 | TELEMECANIQUE | GC1620B5 | 2 Poles Modular contactor - 16A - A, 24 V ac Coil, 2NO | REM | 41
4 | TELEMECANIQUE | LP1-D1201-BD | CONTACTOR 25AMP 3POLE 24VDC 1N/C 5.5KW 7.5HP | REM | 222
1 | TELEMECANIQUE | LP1-D3201BD | CONTACTOR 3 POLE + 1N/O 50 AMP 24VDC COIL - 7.5KW @ 3PH 220AC, 15KW @ 3PH 380-400VAC, 18.5KW @ 3PH 660VAC | REM | 308
2 | TELEMECANIQUE | LP1K0910BD | Magnetic Contactor - 24 V DC coil - 3-POLE, 20 AMP, HP Ratings (3 PH): 2 HP @ 208V, 3 HP @ 240V, 5 HP @ 480V, , 5 HP @ 600V,HP Rating (1 PH): 1.5 HP @ 240V, 1 NO aux contact installed | REM | 37
3 | TELEMECANIQUE | LP1K0610BD | CONTACTOR 20AMP 3POLE 2.2KW 1AUX 1NO COIL 24VDC | REM | 33
3 | TELEMECANIQUE | LP1K0901BD | Magnetic Contactor - 24 V DC coil - 3-POLE 1AUX NC, 20 AMP, HP Ratings (3 PH): 2 HP @ 208V, 3 HP @ 240V, 5 HP | REM | 38
1 | TELEMECANIQUE | LP4K0610BW3 | CONTACTOR TESYS 3 POLE 3X N/O 6 AMP 24 VDC 1X NO AUXILIARY | REM | 43
1 | TELEMECANIQUE | LP2K0910BD | TeSys K reversing contactor - 3P(3 NO) - AC-3 <= 440 V 9 A - 4 KW - 24 V DC coil, HP Ratings (3 PH): 2 HP @ 208, 3 HP @ 240, 5 HP @ 480-600V, HP Rating (1 PH): 1.5 HP @ 230V + 1 NO aux contact installed | REM | 83
2 | TELEMECANIQUE | CA2KN40B72 | Control Relay - COIL 24 VAC, 4NO, 10 A Contact Rating | REM | 37
3 | TELEMECANIQUE | CA2KN40B7 | CONTROL RELAY 24 VAC AT 50/60 HZ 4NO | REM | 33
3 | TELEMECANIQUE | CA3KN22BD | CONTROL RELAY 4 POLE 10 AMP 600 VAC 24 VDC DPST-NO DPST-NC 2 NO + 2 NC | REM | 38
1 | TELEMECANIQUE | CA3KN31BD | CONTROL RELAY TESYS SERIES DIN RAIL PANEL 4 POLE 10 AMP CONTACTOR 600 VAC COIL 24 VDC 3 N/O & 1 N/C | REM | 38
1 | TELEMECANIQUE | CA3KN40BD | CONTROL RELAY TESYS K SERIES 10-AMP 24 VDC COIL 600 VAC MAX VOLTAGE 50/60 HZ 4 NO | REM | 39
1 | TELEMECANIQUE | CA2-DN40M7 | CONTROL RELAY 10 AMP 4-POLE 4 N.O. CONTACTS 220-230 V AC 50/60 HZ | REM | 153
1 | TELEMECANIQUE | CA2-DN22M7 | CONTROL RELAY 10 AMP 4-POLE 2 N.O. CONTACTS 2 N.C. CONTACTS 220-230 V AC 50/60 HZ | REM | 153
2 | TELEMECANIQUE | CA2-DN40F7 | CONTROL RELAY 10 AMP 4-POLE 4 N.O. CONTACTS 110 V AC 50/60 HZ | REM | 184
1 | TELEMECANIQUE | LA1-D40-A65 | AUXILIARY CONTACT BLOCK 4NO 10 AMP 600 VAC | REM | 45
2 | TELEMECANIQUE | LA1KN04 | AUXILIARY CONTACT BLOCK TESYS K SERIES 600 VAC 10 AMP 4 CONTACTS (4 NC) | REM | 15
2 | TELEMECANIQUE | LA1-DN04 | CONTACT BLOCK (4 NC) | REM | 84
2 | TELEMECANIQUE | LA1KN31 | CONTACT BLOCK (3 NO + 1 NC) | REM | 15
1 | SIEMENS | 3TF4722-0AL2 | CONTACTOR Coil 230VAC 50/60Hz, AC-3 25 HP/230V, 40 HP/400V, 75 HP/690V, 80A , @ AC1 90A, 3-POLE, 3 N/O contacts + 2NO and 2NC auxiliary contacts. | REM | 301
1 | SIEMENS | 3TF3010-0AP0 | CONTACTOR 3POLE 4KW 230VAC COIL 50/60HZ | REM | 102
1 | SIEMENS | 3TH2031-0AP6 | 4 Pole Contactor Relay, 31E, DIN EN 50011, 3 NO, 1 NC Coil 220 VAC 50/60 Hz, AC1 16 A, AC-3 4 KW @ 690 V w/ Surge suppressor VG-3TF26039 | REM | 72
1 | SIEMENS | 3TH2022-0BC4 | 4 Pole Contactor Relay, 22E, DIN EN 50011, 2 NO + 2 NC, Coil 30 V DC w/ Surge suppressor 3TX4490-3A | REM | 82
1 | SIEMENS | 3TH4040-0AM0 | CONTROL RELAY 40E SCREW TERMINALS DIN RAIL MOUNT 4 POLE FIXED CONTACTS 4NO 220V 50HZ / 264V 60HZ COIL | REM | 168
1 | SIEMENS | 3RT1516-1BB40 | 4 Pole Contactor Relay - 9 A, 24 V dc Coil, 2NO + 2NC | REM | 128
1 | SIEMENS | 3RT1034-1AF00 | POWER CONTACTOR 32 AMP 110VAC 50HZ 3 POLE | REM | 398
1 | SIEMENS | 3RT1026-1AB00-1AA0 | CONTACTOR 25AMP 3P 24VAC AC-3 11KW/400V AC 24V 50HZ 3-PIN BGR. S0 | REM | 91
2 | SIEMENS | 3RT1025-1AL24 | MOTOR STARTER CONTACTOR 17 AMP 7.5 KW 600 VAC 440 VAC COIL 50/60 HZ 3 POLE 3 PHASE SIZE 0 SCREW TERMINAL | REM | 257
1 | SIEMENS | 3RT1016-1BB41 | CONTACTOR 3 POLE 9 AMP 4 KW / 400 VAC 1 N/O 24 VDC COIL | REM | 321
4 | SIEMENS | 3RT1016-1KB42 | Power contactor, AC-3 9 A, 4 kW / 400 V, 1 NC, 17 - 30 V DC Coil, 3-POLE, SIZE S00, SCREW CONNECTION | REM | 472
1 | SIEMENS | 3RT1016-1AB01 | POWER CONTACTOR AC-3 9 A 4 KW 400 V 1 N/O 24 V AC 50/60 HZ 3 POLE SIZE S00 | REM | 152
1 | SIEMENS | 3RH1140-1BB40 | 4 Pole Contactor Relay, 40E, DIN EN 50011, 4 NO, Coil 24 V DC w/ Surge suppressor 3RT1916-1EH00 | REM | 168
2 | SIEMENS | 3RH1131-1BB40 | 4 Pole Contactor Relay, 31E, DIN EN 50011, 3 NO + 1 NC, Coil 24 V DC w/ Surge suppressor 3RT1916-1EH00 | REM | 160
1 | SIEMENS | 3FT2001-0AC2 | Contactor 24VAC Coil, 3-POLE, AC-3 4 KW/400 V, 9 A, 1 NC, SIZE 00, SCREW TERMINAL | REM | 319
2 | SIEMENS | 3CT4417-0A | CONTACTOR SIZE 2 2-POLE DC-3 AND 5 32 A AUXILIARY CONTACTS 22 (2 NO + 2 NC) 24VDC DC OPERATION | REM | 460
2 | EATON | XTCE018C01TD | CONTACTOR 3POLE COIL: 24VDC 40AMP | REM | 315
6 | KLOCKNER MOELLER | DILEM-10-GI-24VDC | CONTACTOR 10 AMP 4 POLE COIL:24VDC | REM | 164
6 | KLOCKNER MOELLER | 13-DIL-E | Auxiliary Contact 1 N/O, 3 N/C | REM | 111
3 | KLOCKNER MOELLER | DILEM-01(24V50/60HZ) | CONTACTOR 20 AMP 3 POLE 24 VAC 50/60HZ 1 NC AUX CONTACT DIN RAIL MOUNT SCREW CLAMP TERMINALS | REM | 35
1 | KLOCKNER MOELLER | DILER-22(24V50/60HZ) | CONTACTOR, , COIL 24 VAC, 10AMP, 4 POLE, 2 NO + 2 NC, SCREW TERMINALS | REM | 35
1 | KLOCKNER MOELLER | DIL0M(24V50HZ) | 3 pole contactor , COIL 24 V AC, 7.5 Hp @ 230, 10 HP @ 460, 35 Amps | REM | 351
1 | KLOCKNER MOELLER | DIL00M-10 (24V, 50/60HZ) | 4 pole contactor , COIL 24 V AC, 3 Hp @ 230, 5 HP @ 460, 7.5 HP @ 575, 20 Amps, 1 NO aux contact installed | REM | 369
2 | EATON CORPORATION | XTRM10A40RD | CONTROL RELAY MINIATURE 4 POLE 4 NO CONTACTS 10 AMP 500 VAC 12 VDC COIL (DILER-40-G) | REM | 55
2 | TOGAMI ELECTRIC MFG / U-SUN | PAK-25U | MAGNETIC CONTACTOR 200V 50HZ 200-220V 60HZ 3 POLE | REM | 180
1 | TOGAMI ELECTRIC MFG / U-SUN | PAK-10U-31-AC50V | MAGNETIC CONTACTOR COIL: 48-50V50HZ 48-55V60HZ 3NO/1NC | REM | 319
2 | DANFOSS | CI32 | Contactor, Coil voltage 220 – 230 V 50 Hz / 220 V 60 Hz, 3 pole, AC1 LOAD 63 Amp, HP Ratings (3 PH): 10 HP @ 240V, 20 HP @ 460, 25 HP @ 600 V, 25 Amp | REM | 153
2 | DANFOSS | CI9-230VAC | CONTACTOR MOTOR STARTER COIL: 230 VAC 3HP @ 230V, 5HP @ 460 V, , 7.5HP @ 575 V, 9 AMP | REM | 144
3 | YASKAWA ELECTRIC | HI-10E2TUT | Magnetic Contactor, 20 AMP, Coil 90-100V / 50 Hz, – 100-110V / 60 Hz | REM | 228
1 | ASEA BROWN BOVERI | B12-40-00 | 4 Pole Contactor, 28 AMP, Coil 220V / 50 Hz, – 240 V / 60 Hz | REM | 146
1 | GENERAL ELECTRIC | CL03A310M1 | CONTACTOR 3P 25A 24 V AC 50/60HZ COIL DIN MOUNTED 12KW | REM | 283
1 | SCHNEIDER ELECTRIC SQUARE D | 8502-PD2.10E-V03 | CONTACTOR 8502 SERIES 220/240 VAC COIL 50/60 HZ 20 AMP 3 PHASE | REM | 228
1 | ZHEJIANG DONGYA ELECTRONIC CO | ZLJM-200C/48A1.S | DC contactor COIL 48vdc CONTACT 48 VDC 200A SPST-NC | REM | 192
1 | SPRECHER & SCHUH | CS3-P22 | AUXILIARY CONTACT BLOCK 10 AMP 6KV 690 VAC MAX 2 NO / 2 NC FOR USE WITH CS3 / CA3 TYPE CONTACTORS | REM | 111
3 | MERLIN GERIN | 15959 | CONTACTOR CT 25 AMP 2 POLE 230...240 VAC 2 NO | REM | 49
RELAYS
31 | OMRON | G2R-2-SND DC24 | General Purpose Relay DPDT, Input : 24 VDC, Load : 250 VAC 5 A, 30 VDC 5 A with P2RF-08-E Socket | REM | 34
4 | OMRON | G2R-2-S AC200/(220) | General Purpose Relay DPDT, Input : 200(220) VAC, Load : 250 VAC 5 A, 30 VDC 5 A with P2RF-08-E Socket | REM | 27
3 | OMRON | G2R-2-SN 100(110) | General Purpose Relay DPDT, Input : 100(110) VAC, Load : 250 VAC 5 A, 30 VDC 5 A with P2RF-08-E Socket | REM | 29
10 | OMRON | G7D-412S 24VDC | Safety Relay, Coil 24 VDC - 6 poles : 4PST-NO, DPST-NC, Load : 240 VAC 3 A with SOCKET P7DF-14 | REM | 202
2 | OMRON | G7D-412S 24VDC | Safety Relay, Coil 24 VDC - 6 poles : 4PST-NO, DPST-NC, Load : 240 VAC 3 A | REM | 166
12 | OMRON | G7S-4A2B DC24 | Safety Relay, Coil 24 VDC - 6 poles : 4PST-NO, DPST-NC, Load : 240 VAC 3 A with SOCKET P7S-14F | REM | 160
1 | OMRON | G7S-3A3B-DC24 | Safety Relay, Coil 24 VDC - 6 poles : 3PST-NO/NC, Load : 240 VAC 6 A with SOCKET P7S-14F | REM | 122
3 | OMRON | MY2N-24VDC | Electromagnetic Relay, DPDT, Ucoil: 24VDC, 5A/240VAC 5A/28VDC with PY-08A Socket | REM | 36
1 | OMRON | MY4-24VDC (S) | Electromagnetic Relay, 4PDT, Ucoil: 24VDC, 5A/250VAC? 5A/30VDC with NAIS HC4SFD-I Socket | REM | 56
1 | OMRON | MY4IN DC24 (S) | Electromagnetic Relay, 4PDT, Ucoil: 24VDC, 5A/240VAC with ES15/4N Socket | REM | 33
3 | OMRON | MY4N-D2 DC24 (S) | Miniature Power Relay 4PDT; Ucoil: 24VDC; 5A/250VAC; 5A/30VDC with PYF14A-E Socket | REM | 17
4 | OMRON | LY4N-D2-DC24 | Electromagnetic Relay, DPDT, Ucoil: 24VDC, 10A/240VAC 10A/24VDC with PTF-14-E Socket | REM | 38
14 | OMRON | G3RD-X02SN-US-DC24 | Solid State Relay Input : 24 VDC, Load : 50 VDC 2 A with P2RF-05 Socket (G3RDX02SNUSDC24) | REM | 65
2 | FINDER | 62.32.9.024.0040 | General Purpose Relay DPDT, Input : 24 VDC, Load : 250 VAC 16 A, 30 VDC 5 A with 92.03 Socket | REM | 39
1 | FINDER | 62.33.9.024.0040 | General Purpose Relay DPDT, Input : 24 VDC, Load : 250 VAC 16 A, 30 VDC 5 A with 92.03 Socket | REM | 37
1 | FINDER | 55.33.9.024.0010 | General Purpose Relay, 3PDT, Input : 24 VDC, Load : 400 VAC 10 A, with 94.03 Socket | REM | 27
1 | FINDER | 34.51.7.024.0010 | Relay SPDT, Input : 24 VDC, Load : 250 VAC 6 A WITH 93.51.7.024 SOCKET | REM | 29
1 | FINDER | 46.52.9.024.0040 | RELAY GENERAL PURPOSE DPDT 8A 24V DC + FINDER 97.02 RELAY SOCKET + FINDER 99.02.0.024.98 VARISTOR & LED INDICATOR MODULE | REM | 30
1 | FINDER | 95.85.1 | RELAY SOCKET 300 VAC 12 AMP 8 PIN DIN RAIL MOUNTING + OMRON G2RL-2-DC24 RELAY 2 FORM C DPDT-NO/NC 24VDC 8A | REM | 26
8 | NAIS | HC2-H-DC24V | Relay, DPDT, Ucoil: 24VDC, 7A / 250V AC, 3A / 30 VDC with NAIS HC2SFD-I Socket | REM | 50
6 | SCHRACK | RTE24024 | GENERAL PURPOSE RELAY W/SOCKET Input : 24 VDC, Load : 250 VAC 8A | REM | 5
1 | SCHRACK | MR201024 | RELAY 8 PIN OCTAL BASE 10 AMP/250VAC ; 5 AMP/400VAC ; 24 VDC COIL | REM | 67
1 | PHOENIX CONTACT | 2940090 EMG 10-REL/KSR-G 24/21-LC | Relay Module w/ Siemens Relay | REM | 64
1 | MURR ELEKTRONIK | 52102 | NTERFACE RELAY 35MM DIN RAIL MOUNT 24 VDC COIL VOLTAGE DPDT (2) N.O. (2) N.C. 6A CONTACT RATING 250 VAC/VDC LOAD VOLTAGE | REM | 56
1 | TELEMECANIQUE | N,A, | Relay | REM | 50
10 | MATSUSHITA ELECTRIC | K2F-24V-A | RELAY 8 BLADE 0.05 HP 5 / 3 AMP 125 VAC / 28 VDC 24 VDC COIL | REM | 654
SAFETY RELAYS
1 | SIEMENS | 3TK2804-0BB4 | CONTACTOR COMBINATION FOR SAFETY CIRCUITS 24 VDC 1NO/NC 4 N/O SCREW TYPE TERMINAL | REM | 609
2 | SIEMENS | 3TK2804-0AC2 | CONTACTOR SAFETY COMBINATION FOR SAFETY CIRCUITS ENABLING AND SIGNALLING CIRCUIT 4NO, 1NO+1NC AC OPERATION AC 24V 50/60HZ | REM | 1888
2 | SIEMENS | 3TK2805-0AC2 | CONTACTOR SAFETY COMBINATION FOR SAFETY CIRCUITS ENABLING AND SIGNALLING CIRCUIT 5 NO+1 NC AC OPERATION AC 24V 50/60HZ | REM | 4234
1 | SIEMENS | 3TK2824-1CB30 | Safety Relay | REM | 436
1 | SIEMENS | 3SK1121-2CB41 | SAFETY RELAY SIRIUS 24 VDC 2 N/O 1 CHANNEL 4 SAFETY CONTACTS 0.05-3 SEC DELAY | REM | 346
7 | ELAN | SRB-NA-R-C.8-F/J-24V | SAFETY CONTROLLER SAFETY RELAY ELAN 24 VDC –15%/+20% 2 CONTACTS 6.3 AMP SLOW BLOW FUSE | REM | 829
1 | Schmersal ELAN | SRB-NA-R-C.6-24V | Safety Relay 50mA 24VDC | REM | 417
1 | Schmersal ELAN | SRB-NA-R-C.15-24V | Safety Relay 120mA 24VDC | REM | 1014
1 | ELOBAU | 463121 | SAFETY RELAY CONTROLLER 24VAC/DC 10/15 PERCENT 250VAC/125VDC 3AMP 90W/750VA | REM | 319
2 | ELOBAU | 463121F1U1 | SAFETY CONTROLLER 24 VAC / DC 75 MA 3 AMP 750 VA 90 W | REM | 337
1 | PILZ | PZE X5 24VDC 5N/O | EMERGENCY STOP RELAY 774595 24VDC | REM | 385
2 | PILZ | P2HZ-X1-24VDC | 3n/o 1n/c Safety Relay | REM | 1660
1 | PILZ | PNOZ-X2.1-24VAC/DC-2N/O | 2 N/O Safety Relay | REM | 288
1 | PILZ | PNOZ-E1VP-10/24VDC-1N/O-1N/O-T | EMERGENCY STOP RELAY 774131 24VDC | REM | 645
1 | PILZ | PNOZ-S4-24VDC-3N/O-1N/C | EMERGENCY STOP RELAY 750104 24VDC -3N/O - 1N/C | REM | 380
1 | PILZ | PNOZ-1-24VAC-3S/1O | EMERGENCY STOP RELAY 475600 24VAC (3 safety contacts (N/O), 1 auxiliary contact (N/C)) | REM | 738
2 | PILZ | PNOZ/5 24VAC 2S | EMERGENCY STOP RELAY 474591 24VAC (2 safety contacts (N/O), 1 auxiliary contact (N/C)) | REM | 321
1 | OMRON | G9D-301 24AC/DC | Safety Relay Unit 240VAC 50/60HZ 6A SOURCE:24V AC/DC | REM | 414
3 | OMRON | G9SA-301-P DC24 | SAFETY RELAY UNIT 240VAC 50/60HZ 3A G9S301 SOURCE:24VDC | REM | 433
1 | OMRON | G9SA-301 AC/DC24 | SAFETY RELAY UNIT 250VAC 50/60HZ 5A G9S301 SOURCE:24V AC/DC | REM | 327
1 | PHOENIX CONTACT | PSR-TRISAFE-S | SAFETY CONTROLLER 20 SAFETY INPUTS 6 SAFETY OUTPUTS 24 V DC | REM | 2008
1 | Sick | UE10-3OS2D0 | Safety Relay | REM | 490
1 | ALLEN BRADLEY | 440N-S32013 | SER B GUARDMASTER SIPHA CONTROL UNIT 24V ACDC 230V 4A | REM | 212
1 | Telemecanique | XPSASF5142 | Safety relay XPSASF5142 SOURCE:24V AC/DC | REM | 1106
1 | CROUZET | 85100035 | SAFETY RELAY - 3 N/O Safety contacts and 2 signaling contacts 6A/250V - Coil 24VDC | REM | 535
1 | CARLO GAVAZZI | DPA51CM44 | 3-PHASE SEQUENCE AND PHASE LOSS MONITORING RELAY | REM | 156
1 | LOVATO | ASF-380 | 3 PHASE SEQUENCE RELAY, 380-415VAC | REM | 139
1 | LOVATO | DRPT 220 | PTC PROTECTION RELAY, 220...240VAC | REM | 380
1 | ENERDIS | RMPI 3000 | GAMME SECUREL - Relais de mesure et de protection à technologie numérique, pour réseau triphasé | REM | 800
1 | Arburg | SN 47.733 - 663 519 664 | Arburg Module | REM | 100
SOLID STATE RELAYS
3 | OMRON | G3PA-210B-VD DC5-24 | SOLID STATE RELAY INPUT 5-24VDC Load 24-240 VAC 10 A | REM | 111
1 | CELDUC | SC864180 | Pack of 6 CELDUC SC864180 SOLID STATE RELAY INPUT 5-30VDC Load 400 VAC 40 A + heat sink, Panel Mount | REM | 900
1 | ELETTRON | EC 4840 | Pack of 6 ELETTRON EC 4840 SOLID STATE RELAY INPUT 3-32VDC Load 480 VAC 40 A + heat sink, Panel Mount | REM | 900
2 | ELETTRON | EC 4840 | ELETTRON EC 4840 SOLID STATE RELAY INPUT 3-32VDC Load 480 VAC 40 A + heat sink, Panel Mount | REM | 180
4 | CROUZET | 84137120 | SOLID STATE RELAY INPUT 4-32VDC Load 48-660 VAC 50 A + heat sink + drawbar for DIN RAIL | REM | 250
2 | CROUZET | G480D50 | SOLID STATE RELAY INPUT 4-32VDC Load 36-530 VAC 50 A + heat sink + drawbar for DIN RAIL | REM | 250
1 | CROUZET | GA3-12D45Z | SOLID STATE RELAY 45AMP 3PH INPUT: 4-32VDC | REM | 277
1 | SENSATA TECHNOLOGIES CRYDOM | CMRD6065 | SOLID STATE RELAY DIN RAIL MOUNT SPST-NO 660VAC 32VDC 65A | REM | 383
1 | CRYDOM | D2450H | SOLID STATE RELAY INPUT 3-32VDC Load 240 VAC 50 A Panel Mount | REM | 145
1 | CRYDOM | D2425-10 | SOLID STATE RELAY INPUT 3-32VDC Load 240 VAC 25 A Panel Mount | REM | 228
1 | FOTEK | SSR-40DA-H | SOLID STATE RELAY 40 AMP INPUT: 3-32 VDC LOAD: 24-480 VAC | REM | 86
3 | Teledyne SSP | 601-2 | Solid State Relay CONTROL:3-32vdc LOAD: 10Amp 250 VAC 50/60 Hz | REM | 137
1 | Electromatic | RA2410-D06T | Solid State Relay 240VAC 10A | REM | 61
1 | TEC AUTOMATISMES | 1902161100 | INSTANTANEOUS RELAY - COIL 48 V AC/DC - Number of contacts : 2 RT - Max. load current : 5 A | REM | 100
TIMER RELAYS
2 | SSAC | TDML-12DL | TIMING RELAY 12VDC 0.1-102.3 SEC DIP SWITCH SELECTABLE TIME DPDT 10A OUTPUT 8-PIN CIRCULAR BASE | REM | 206
1 | OMRON | H3BA-8-24VDC | Multi Range Timer Relay, DPDT, 0.1 SEC - 100 Hour, Time Operating Flicker, On Delay Timer, 250 VAC 5 A Contact with P2CF-08 Socket | REM | 153
1 | OMRON | H3CR-A AC100-240/DC100-125 | Timer 1.2s to 300h 100-240VAC / 100-125 VDC with Socket | REM | 117
1 | OMRON | H3YN-4 DC24 | Multi Function Timer Relay, DPDT, 250VAC/5A, Flicker OFF Start, Flicker ON Start, Interval, ON Delay, 0.1 s → 10min with PYF-14-E Socket | REM | 72
1 | OMRON | H5CL-A | DIGITAL TIMER 3AMP 100-240VAC 12VDC 9.999S - 9999H | REM | 547
1 | THEBEN | 610-0-002 | TOP Time Relay Switch Digital 220V 16A LCD DIN Programmable Timer 84-Mem | REM | 273
1 | THEBEN | 611-0-002 | TOP Time Relay Switch Digital 220V 16A LCD DIN Programmable Timer 84-Mem | REM | 273
1 | AUTONICS | AT8N | MULTI TIME RANGE 8 PIN PLUG TYPE DPDT TIME LIMIT OR SPDT 100-240 VAC / 24-240 VDC 50/60 HZ LOAD : 250 VAC 3A | REM | 64.8
1 | CDC | TA 25/Sc. 852 | TIMER RELAY 6 SEC, 220v | REM | 200
2 | TELE CONTROLS | VDE-0435-250 | Time Delay Relay | REM | 635
1 | Klockner Moeller | TE-69-A0.05S-60H | TE 69-A Time Delay Relay | REM | 344
1 | LOVATO | BT2N 6S 48 | FOR STARTERS ON DELAY 6s - Time Relay | REM | 350
1 | SCHIELE INDUSTRIEWERKE MBN | 2.409.101.30 | SCHIELE INDUSTRIEWERKE MBN 2.409.101.30 TIMER RELAY | REM | 200
1 | EMKO | EZM-4450 | Multifunctional Programmable Timer and Counter with RS 232/485 Serial Communication Unit ,24V, 2XRELAIS O | REM | 324
1 | DOSSENA | DER1/2S | DIFFERENTIAL RELAY .025-25AMP .02-2.5S 110/220/380VAC 50/60 Hz | REM | 343
THERMAL OVERLOAD RELAYS
1 | TELEMECANIQUE Schneider | LR1-D40-355 | MOTOR OVERLOAD RELAY 30 - 40 AMP | REM | 259
1 | TELEMECANIQUE Schneider | LR2-D3361 | MOTOR OVERLOAD RELAY 55-70 AMP | REM | 436
1 | TELEMECANIQUE Schneider | LR2-D1310 | MOTOR OVERLOAD RELAY 4-6 AMP | REM | 151
1 | TELEMECANIQUE Schneider | LR1-D09310 | MOTOR OVERLOAD RELAY 4-6 AMP | REM | 178
1 | TELEMECANIQUE Schneider | LR1-D12316 | MOTOR OVERLOAD RELAY 10-13 AMP | REM | 178
1 | TELEMECANIQUE Schneider | LR1-D09312A65 | MOTOR OVERLOAD RELAY 5.5-8 AMP | REM | 128
1 | TELEMECANIQUE Schneider | LR1-D09303 | MOTOR OVERLOAD RELAY 0,25-0,40 AMP | REM | 60
1 | TELEMECANIQUE Schneider | LR1-D09304 | MOTOR OVERLOAD RELAY 0,40-0,63 AMP | REM | 184
1 | SIEMENS | 3-UX1-418 | TERMINAL BRACKET STAND-ALONE + SIEMENS 3UA5000-1E THERMAL OVERLOAD RELAY 2.5-4AMP | REM | 301
1 | SIEMENS | 3UA50-00-1E | MOTOR OVERLOAD RELAY 2.5-4AMP | REM | 33
1 | YASKAWA ELECTRIC | RH-35/11.5HV | MOTOR OVERLOAD RELAY 11.5 AMP | REM | 88
1 | YASKAWA ELECTRIC | RHP-15/4 | MOTOR OVERLOAD RELAY 4 AMP | REM | 69
1 | DANFOSS | TI16S | MOTOR OVERLOAD RELAY 1.8-4.8AMP | REM | 124
PROXIMITY SWITCHES & PHOTOSENSORS
2 | EFECTOR IFM | IW-3008-BPKG-IW5058 | INDUCTIVE SENSOR 10-36 VDC 8 MM SENSING RANGE 300 HZ SWITCHING FREQUENCY PNP NON FLUSH MOUNTABLE | REM | 116
1 | EFECTOR IFM | IMC3040-BPKG/US-100-DPS-IM5117 | Inductive Proximity Sensor 10-36 VDC | REM | 101
2 | PEPPERL & FUCHS | 3RG6342-3AB01-PF | ULTRASONIC SENSOR - SIEMENS SONAR-BERO 3RG6342-3AB01-0HA5 | REM | 544
2 | SIEMENS FURNAS ELECTRIC CO | 3RG4072-3AB00 | PROXIMITY SWITCH N2.5MM 10-65VDC PNP NO | REM | 96
2 | Allen Bradley | 42SRP-6022 | Fixed Focus Photoswitch Series B | REM | 546
1 | Allen Bradley | 42KB-S1LPSB-A2 | PHOTOSWITCH Photoelectric Sensors, Sharp Cut Off Diffuse,Infrared, Manually Adjustable,PNP | REM | 121
3 | TAKENAKA | IR3ANS | Photoelectric Sensor - Distance Sensor | REM | 328
1 | SICK | WL170-P430 | PHOTOELECTRIC SENSOR RETRO-REFLECTIVE WITH RED LED | REM | 369
7 | KEYENCE | PS2-61 | Adjustable Photoelectric Sensor Amplifier DIN Mount 12-24VDC | REM | 339
1 | KEYENCE | FS-T20 | FIBER AMPLIFIER, Cable Type, NPN12-24VDC | REM | 292
6 | OMRON | E2EC-CR8D1 | INDUCTIVE PROXIMITY SENSOR - 2 WIRES - Sensing distance 0.8 mm±15% | REM | 280
1 | OMRON | E2EC-CR5C1 | PROXIMITY SENSOR INDUCTIVE 0.5 MM SENSING DISTANCE NPN-NO OUTPUT CONFIGURATION 5-24VDC | REM | 251
3 | OMRON | E2E-CR8C1 | PROXIMITY SWITCH .8MM RANGE 4MM DIA NPN NO 10-30VDC | REM | 266
1 | OMRON | E2C-JC4AP | Photoelectric Amplifier - PROXIMITY SWITCH AMPLIFIER - 12- 24v dc | REM | 649
5 | OMRON | EE-SPX302-W2A | Slot-type Reflective Photomicrosensor | REM | 54
7 | OMRON | EE-SPX305-W2A | Slot-type Reflective Photomicrosensor | REM | 137
2 | OMRON | EE-SPX306-W2A | Slot-type Reflective Photomicrosensor | REM | 75
3 | OMRON | EE-SPX405-W2A | Slot-type Reflective Photomicrosensor | REM | 95
1 | OMRON | EE-SPX406-W2A | Slot-type Reflective Photomicrosensor | REM | 145
2 | KEYENCE | PS-56 | Transmitter/Receiver (Photoelectric Sensor Switch) | REM | 277
3 | KEYENCE | PS-52 | Transmitter/Receiver (Photoelectric Sensor Switch) | REM | 182
6 | TAKEX | UM-T15DTV (UM-TR15TV & UM-TL15T) | Photoelectric Switch - Transmitter & Receiver - Ultra Miniature Embedded Amplifier Photo Sensors | REM | 162
1 | KEYENCE | PJ-S08 | Light Curtain Expandable Area Sensor Multi-beam, 8 OPTICAL AXES, 140MM RANGE, PJ-S08T & PJ-S08R | REM | 656
1 | VISOLUX | RLK7-F-1104/737/40 | Light barrier | REM | 150
1 | BAUMER ELECTRIC | IFF 08.24.15/L1 | PROXIMITY SWITCH INDUCTIVE 5-30VDC PNP 2METER CH-8501 | REM | 171
2 | IPF ELECTRONIC | IPF IB090100 | PROXIMITY INDUCTIVE SENSOR 200MA 10-30VDC | REM | 158
SAFETY INTERLOCK SWITCHES
10 | ALLEN-BRADLEY | 440K-E33001 | Safety Interlock Switch Part N 33001 Guardmaster ELF | REM | 148
2 | ALLEN-BRADLEY | 27015 | Guardmaster Titan TLS-2 24V PG 13.5 Safety Interlock Switch | REM | 216
1 | ALLEN-BRADLEY | 440G-T27128 | Guardmaster TLS-GD2 Safety Interlock Switch with Guard Locking | REM | 447
1 | ALLEN-BRADLEY | 440G-S36002 | Guardmaster Spartan PG11 24V PART N 36002 Safety Interlock Switch | REM | 529
1 | ALLEN-BRADLEY | 440K-T11147 | SWITCH GUARDMASTER SAFETY TROJAN 5 GD2 FRONT ENTRY TONGUE INTERLOCK 2 NC + 1 NO SAFETY CONTACTS | REM | 440
12 | TELEMECANIQUE | XCK-J59 | Safety Interlock Limit Switch 240V, 3A | REM | 300
1 | TELEMECANIQUE | ZCK-J59 | Safety Interlock Limit Switch 380V, 10A | REM | 81
2 | TELEMECANIQUE | XCK-P591 | Safety Interlock Switch 240V, 3A | REM | 184
1 | TELEMECANIQUE | XCSA501 | Safety Interlock Limit Switch 240V, 3A | REM | 68
1 | SCHMERSAL | AZM 161SK-12/12RKA-024 | Solenoid Interlock Switch, Power to Lock, 24 V ac/dc | REM | 417
3 | SCHMERSAL | AZ16ZVRK-M16-2254 | SAFETY INTERLOCK SWITCH 1NC/1NO 4A/230V SPST | REM | 78
1 | SCHMERSAL | AZ-16-ZVRK-M20-1637 | Safety Interlock Switch 1NC/1NO, Key | REM | 79
1 | SCHMERSAL | AZ 335-02ZK | Safety Interlock Switch 1NC/1NO, Key | REM | 277
1 | SCHMERSAL | AZ 17-11ZK | Safety Interlock Switch 1NC/1NO, Key | REM | 82
1 | SCHMERSAL | AZ 17-02ZK | SAFETY SWITCH KEYED INTERLOCK 2 NORMALLY CLOSED SAFETY CONTACTS M16 CABLE GLAND 801000015 | REM | 76
1 | OMRON | D4SL-N4GFA-D | GUARD LOCK SAFETY-DOOR SWITCH | REM | 175
LIMIT SWITCHES
4 | CROUZET | 83 805-1 | LIMIT SWITCH , 1NO / 1NC, 5 A - 250 VAC, Straight roller lever | REM | 140
1 | TELEMECANIQUE | ZCMD21M12 | LIMIT SWITCH body ZCMD - 1C/O - silver - snap action | REM | 45
1 | TELEMECANIQUE | XD2PA24 | Joystick Cross Switch | REM | 108
1 | TELEMECANIQUE SENSORS | ZCKM1 | LIMIT SWITCH SNAP ACTION 10 AMP 2 POLE 1 NC + 1 NO 380 VAC | REM | 20
1 | SCHMERSAL | ZV12H 236-11Z-RMS | LIMIT SWITCH 1NC/1NO, AC-15: 4 A, 230 V | REM | 114
1 | SCHMERSAL | ZR 332-11Y-M20 | LIMIT SWITCH 6AMP 250V 1NO/1NC SNAP ACTION | REM | 169
1 | Honeywell | GLCB01A1A | Roller Lever Limit Switch, NO/NC, IP66, SPDT 1NO/1NC, Die Cast Zinc Housing, 300V ac Max, 10A Max | REM | 169
1 | Steute Endschalter | EM-45-1O/1S | Limit Switch 10 A 380VAC | REM | 78
ON/OFF ROTARY CAM SWITCHES
1 | KRAUS & NAIMER | C80 | ROTARY CAM SWITCH | REM | 363
1 | KRAUS & NAIMER | C42 | ROTARY CAM SWITCH | REM | 342
1 | KRAUS & NAIMER | C32 | ROTARY CAM SWITCH | REM | 229
2 | KRAUS & NAIMER | KG20BT20301E | ISOLATOR SWITCH LOCKABLE 3 POLE 400 VAC 25 AMP 7.5 KW FRONT PANEL MOUNT 3 PINS | REM | 242
2 | KLOCKNER-MOELLER | TM-1-8291/E/SVB | ON/OFF POWER CONTACT SWITCH ASSEMBLY | REM | 50
1 | KLOCKNER-MOELLER | TO-1-102 | ON/OFF POWER CONTACT SWITCH ASSEMBLY | REM | 144
1 | SONTHEIMER | A3/12EFR/Z20/Z63 | ROTARY CAM SWITCH 16A | REM | 95
1 | SONTHEIMER | A3/12EFR/Z20/X70GB AJ | ROTARY CAM SWITCH 16A | REM | 95
1 | ALLEN-BRADLEY | 194L-A25-1753 | Control Switch, 25A | REM | 31
1 | TELEMECANIQUE | IEC 947-3 VDE0660 | Disconnect Switch 40 Amp 3p 600 VAC | REM | 120
1 | BACO | PR63-1104-A8 | Power Switch On/Off 63A / 600V 3 Phases | REM | 273
1 | SALZER | S432-61199-042M1 | SALZER S432 - 40 AMP ROTARY CAM SWITCH 600 VAC 25 HP 3 PHASE | REM | 214
1 | Elektra | D4 00/HS-F45-D-RG | Main Emergency Switch | REM | 130
1 | SIEMENS | 3LD1-118-0TB53 | MAIN EMERGENCY DISCONNECT | REM | 129
1 | GAVE ELECTRO | 552 | ROTARY CAM SWITCH 12A | REM | 45
CURRENT & PRESSURE & TEMPERATURE SENSORS
1 | NANA ELECTRONICS | NNC-20CAW-6 | HALL CURRENT TRANSFORMER 100AMP 4V | REM | 270
2 | CAMPINI | TY.60 | 110°C Thermostat 16A 250V standard bi-métal | REM | 20
1 | SENSATA TECHNOLOGIES AIRPAX | O53ZCJ230B-5013 | 1/2 BIMETAL DISC THERMOSTAT 5003 SERIES OPEN ON RISE VERTICAL ORIENTATION | REM | 404
4 | SENSIRION | SDP 3000-LB5 | CMOSENS Differential Pressure Sensors for Air and Non-Aggressive Gases - For measurements up to 3500 Pa | REM | 426
1 | HONEYWELL | SDX01D4 | Differential Pressure Sensor 68,94mBar Gage 18mV - Operating Pressure : 0 psid to 1 psid | REM | 426
5 | EVK | F-J-01-11 | Type J Thermocouple 2m Length | REM | 10
60 | Umbranded | 220 13 10K 8039 1103 | Temperature sensor | REM | 10
1 | DABECO | GAZ SENSOR | GAZ SENSOR | REM | 30
SENSOR CONTROLLERS & INTERFACE MODULES
1 | TES | 1306 K/J | DUAL CHANNEL THERMOMETER WITH TEMPERATURE PROBES | REM | 382
1 | ELREST | CAN/MIO-2.2/FLASH/4XO-10VDC/24VDC | CAN interface Multi 4 channels 10 TO 24 VDC | REM | 1011
2 | OMRON | V600-CA1A-V2 | RFID CONTROLLER - IDENTIFICATION SYSTEM CONTROLLER - SOURCE: 100-240VAC 50/60HZ 35VA - W/RS-232 RFID - INP: 24VDC 10MA - OUT: 24VDC 100MA | REM | 1276
1 | OMRON | S3D2-CKD | SENSOR CONTROLLER 24VDC Multi-function with two inputs/one output | REM | 800
1 | SICK | CDM420-0001 | MODULAR CONNECTION MODULE FOR ONE SENSOR 30 V (1025362) | REM | 380
1 | PHOENIX CONTACT | MCR-C-U/U-10V/B-DCI | ISOLATED SIGNAL CONVERTER 24 VDC 40 MA 1 KV 50 HZ DIN RAIL MOUNT (2766724) | REM | 319
4 | WAGO | 857-402 | UNIVERSAL ISOLATION AMPLIFIER - SIGNAL CONDITIONER | REM | 213
1 | KNICK | P-27000-H1 | ISOLATION AMPLIFER ADJUSTMENT INPUT/OUTPUT 22-230 VAC/DC | REM | 1186
1 | ASEA BROWN BOVERI | CC-E/RTD | TEMPERATURE SIGNAL CONVERTER 24 VDC MULTI-FUNCTION | REM | 875
1 | PEPPERL & FUCHS | KFA6-SR2-EX1.W | SWITCH AMPLIFIER 1 CHANNEL 230 VAC 45-65 HZ SINGLE RELAY OUTPUT LED DISPLAY SCREW TERMINALS | REM | 270
1 | mac 3 | E/Sonda DB ED22000000 240Vac | Elettrosonda DB Electroprobe DB Level controller Electronic Level Monitor with 5 control points | REM | 240
1 | KEYENCE CORP. | AP-80A | Pressure Sensor/ Transducer | REM | 992
1 | INCO | CCR501 | CURRENT CONTROLLER - Digital Dimmer - Digital current control device - 5 A Max | REM | 200
1 | Red Lion Controls | APLVD400 | Digital Panel Voltmeter | REM | 738
5 | SABO Elektronik GmbH | MVM.020.20 | Temperature to Analog Converter - 0 - 750°C - 0 .. 10V | REM | 270
1 | SABO Elektronik GmbH | DKM.730.20 | CAN interface module PLM 730 | REM | 300
1 | SABO Elektronik GmbH | KSM.010.01 D1 / PLM 730 | CAN interface module PLM 730 | REM | 300
1 | THE MOXA GROUP | CP-168U | UNIVERSAL PCI SERIAL BOARD 8 PORT RS-232 DB62 FEMALE CONNECTOR | REM | 372
1 | THE MOXA GROUP | NPort 5410 | Serial Device Server - 4 Ports RS232 Serial Device Server | REM | 688
1 | HBM | PME-MP 55 DP | SIGNAL CONDITIONER SINGLE CHANNEL 4.8KHZ | REM | 2500
1 | ADVANTCH | ADAM-4055 | Data Acquisition Module - 8 Ch Isolated Digital Input / 8 Ch Isolated Digital Output | REM | 322
1 | GOPEL ELECTRONIC | 100-104 | BOUNDARY SCAN DISTANCE POD | REM | 200
1 | CAPTRON ELECTRONIC | VC-X11 | External Amplifier For Switching Probe - Level Sensor | REM | 371
1 | HEIDENHAIN | EXE-602 E | INTERPOLATION MODULE - SINE WAVE TO SQUARE WAVE - OUTPUT SIGNALS TTL - 50 KHZ - 90 MA | REM | 738
1 | BURSTER | 9243 | AMPLIFIER MODULE 5-10V 4-20MA 6 WIRE RAIL MOUNT | REM | 1094
2 | tecna srl | ADPLC 2PT | Analog to Digital Converter - PLC Interface 4-20 mA | REM | 350
1 | SCE Elettronica | 6SC455 | Digital to Analog Converter - 8 BIT 4 CHANNELS PNP / NPN | REM | 499
3 | TURCK | 8FKS5P3 | I/O-junction passive, M12 Cable - Sensor Box - 8 Channels distributor | REM | 332
1 | SOCOMEC | 179F0006/650-417 | JBUS/MODBUS communication module for DIRIS 14 POWER METER | REM | 295
1 | CORECI | PALCOR RNZ 87-17497 | TEMPERATURE CONTROLLER | REM | 1800
1 | CORECI AUTOMATION | MICROCOR III | TEMPERATURE CONTROL CALIBRATION UNIT | REM | 1368
2 | FENWAL | AR24L-06-SAK-AA | DIGITAL TEMPERATURE CONTROLLER | REM | 410
2 | MELTEX | 2651.0085 B | TEMPERATURE CONTROLLER | REM | 456
2 | TOKY ELECTRICAL | TE4-RB10W | TEMPERATURE CONTROL METER | REM | 584
1 | TOKY ELECTRICAL | AI508-7-R010 | Temperature control meter | REM | 150
1 | ELIWELL | EWPC-800T-220-PT100-C | TEMPERATURE CONTROLLER | REM | 178
1 | TECNOLOGIC | TLE20DSK | DIGITAL TEMPERATURE CONTROLLER | REM | 1120
1 | ENDA | ETC-4420-230 | TEMPERATURE CONTROLLER PT100, J, K, T, S, R 2 A RELAY, SSR | REM | 300
1 | ERO ELECTRONIC | LDS491030000 | TEMPERATURE CONTROLLER 120/240 VAC 50/60 HZ TC/RTD INPUT SMART/PID CONTROL ACTION RELAY OUTPUT | REM | 1094
1 | EUROTHERM | 2216L/C/H/1/X/1ENG/ | TEMPERATURE CONTROLLER 100-240VAC 42-62HZ 5W | REM | 336
1 | Keithley | M1321 | Thermocouple - 150 To 1250C, RS-232C | REM
1 | MGE UPS SYSTEM | 66102 | Network Management Card for Pulsar / Eaton / Powerware UPS | REM | 120
2 | SIEMENS | 00330037-06 | Feeder Controller Unit FOR SIEMENS SIPLACE ASM | REM | 1200
2 | SIEMENS | 03002179-06 | Feeder Controller Unit FOR SIEMENS SIPLACE ASM | REM | 900
1 | SIEMENS | 03158212-01 | Feeder Controller Unit FOR SIEMENS SIPLACE ASM | REM | 900
1 | VEMER RIO | 76X76 7-30DEG | VEMER RIO THERMOSTAT HEAT/COOL + ON/OFF + IND. Wall-mounting mechanical gas expansion thermostat with LED power indicator and ON / OFF selector switch | REM | 60
1 | HAWA | 3150-2060-02-30 | Adjustable thermostat NO contact – Klein Thermostat Schlleber - for cooling equipment - Display dial in °C - Temperature range 0 – 60 °C | BROKE | 133
HOUR METERS & COUNTERS
1 | IVO | B150 | 6-DIGIT HOUR METER | REM | 45
1 | MATSUSHITA ELECTRIC PANASONIC | TH704S | DC-POWERED HOUR METER 24 VDC | REM | 91
1 | WISAR ZÜRICH | h18 | HOUR METER 200 - 250 VAC, 50 Hz | REM | 45
1 | DYNAPAR HENGSTLER | 0-721-102 | COUNTER DIGITAL 100-240 VAC 50/60 HZ | REM | 100
1 | Vintage Hengstler | 400 00412010 | COUNTER 24VAC | REM | 757
1 | UMBRANDED | NOT CLEAR | UMBRANDED COUNTER | REM | 45
1 | TAMURA | E-609 | COUNTER, DC24 | REM | 53
1 | CROUZET | CP 848S | COUNTER UP/DOWN PRESELECTION | REM | 547
1 | HENGSTLER | 0 411 710 | COUNTER 24V DIGITAL | REM | 102
1 | OMRON | H8BM-BD-DC24 | COUNTER 6-DIGIT 24VDC | BROKE | 1046
CIRCUIT BREAKERS
1 | EATON CORPORATION MOELLER ELECTRIC | NZMH4-25 | CIRCUIT BREAKER 25AMPS | REM | 446
1 | EATON CORPORATION HEINEMANN | AM1S-D3-AA-15-D-A | Circuit Breaker 1 POLE 30A 65 VDC / 250 VAC 50 Hz | REM | 45
1 | FUJI ELECTRIC | CP32D-3A | CIRCUIT PROTECTOR 3AMP 2POLE 250VAC | REM | 159
1 | FUJI ELECTRIC | EA32-BB2AEA-005 | AUTO BREAKER 5A 2P | REM | 24
1 | FUJI ELECTRIC | BB2ASB-015 | Auto Breaker 15 A | REM | 100
1 | MITSUBISHI | CP30-BA-1P-1A | CIRCUIT BREAKER 3AMP 2POLE 220VAC | REM | 41
3 | MITSUBISHI | CP30-BA-2P-10A | CIRCUIT BREAKER 10AMP 2POLE 220VAC MD CURVE | REM | 53
2 | MITSUBISHI | CP30-BA-2P-3A | CIRCUIT BREAKER 3AMP 2POLE 220VAC | REM | 41
1 | MITSUBISHI | CP30-BA-3P-5A-M | CIRCUIT BREAKER 5AMP 3POLE 220VAC M CURVE | REM | 101
1 | MITSUBISHI | NF125-CW3P-100A | Mitsubishi NF125-CW NO FUSE MOULDED Case Circuit BREAKER 3P 100A | REM | 528
1 | MITSUBISHI | NV30-CA-15 | Circuit Breaker 3P 15A | REM | 231
1 | FUJI ELECTRIC | SA33-3P-15A | CIRCUIT BREAKER 3P 15A | REM | 69
1 | MATSUSHITA | BA221505 | CIRCUIT BREAKER 5AMP 1POLE 250VAC | REM | 78
1 | MATSUSHITA | BAC111105 | Circuit Protector, 1A, 220VAC | REM | 43
1 | MATSUSHITA | BAC111205 | Circuit Protector, 2A, 220VAC | REM | 79
1 | MATSUSHITA | CP-C BAC111305 | Circuit Protector, 3A, 220VAC | REM | 62
5 | Nader | NDM1A-63 1P C32 | air switch circuit breaker | REM | 30
1 | Nader | NDB2-40 1P C16 | air switch circuit breaker | REM | 36
1 | Klockner Moeller | FAZN-B10-2 | CIRCUIT BREAKER 2 POLE 10 AMP 5kA-277/480 VAC DIN RAIL MOUNT | REM | 82
2 | Klockner Moeller | FAZ-2-R10 | CIRCUIT BREAKER 10 AMP 2P 400/415V DIN RAIL MOUNT | REM | 16
2 | MERLIN GERIN | 25832 | MINIATURE CIRCUIT BREAKER MULTI9 C60N SERIES 20 AMP 415 VAC 3 POLE C-CURVE | REM | 55
1 | MERLIN GERIN | 26751 | MULTI 9 VIGI C60 EARTH LEAKAGE ADD-ON BLOCK 3 POLE 25 AMP 220-415 VAC 50/60 HZ 300 MA | REM | 210
1 | MERLIN GERIN | 19225 | Circuit Breaker | REM | 40
1 | MERLIN GERIN | 24449 | Circuit Breaker 2 Pole | REM | 60
1 | MERLIN GERIN | 7-11212 | Circuit Breaker 2 Pole | REM | 60
1 | ALLEN BRADLEY | 1492-CB2H010 | CIRCUIT BREAKER 2 Pole 1 Amp | REM | 67
1 | SANKEN AIRPAX | APL 2 | MAGNETIC CIRCUIT BREAKER 50AMP 65VDC | REM | 200
1 | SANKEN AIRPAX | APG 66RE | Magnetic Circuit Protector 2 Poles 30 A + Auxiliary Switch | REM | 90
1 | NIPPON THERMO CO LTD | ICP30-LN-112-108E-30 | CIRCUIT PROTECTOR 30AMP 250V 50/60HZ 3P + 2 AUX CONTACTS 1 NC/ 1NO 125/250 VAC 5AMP | REM | 144
1 | Schneider Electric | A9N21365 | Circuit Breaker 1P + N | REM | 96
1 | Schneider Electric | A9N21556 | Circuit Breaker 1P + N | REM | 140
1 | ABB | S941N | Circuit Breaker B16 | REM | 228
1 | LEGRAND | 1904 | CIRCUIT BREAKER 10 AMP 1 POLE 230/400V C-CURVE | REM | 64
MOTOR PROTECTIVE CIRCUIT BREAKERS
1 | SCHNEIDER ELECTRIC | LG7D12M716 | MOTOR STARTER 9..14A -COIL 220VAC (démarreur en coffret) | REM | 480
1 | SCHNEIDER ELECTRIC | GV2ME32 | Motor protective circuit-breake Adjustment range (amperage): 24 - 32 A | REM | 99
1 | TELEMECANIQUE | GV2-M01 | MOTOR CIRCUIT BREAKER 0.1-0.16A | REM | 134
1 | TELEMECANIQUE | GV1-M20 | MOTOR PROTECTOR 3 POLE 10-16 AMP 660 VAC 50/60 HZ + GV1-A01 AUXILIARY CONTACT BLOCK | REM | 242
1 | SIEMENS | 3RV1011-0GA10 | Circuit breaker size S00 for motor protection 3 makers Adjustment range (amperage): 0.45 - 0.63 A | REM | 66
1 | KLOCKNER-MOELLER | PKZMO2,4 | Thermal Magnetic Circuit Breaker for motor protection Adjustment range (amperage): 1.6 - 2.4 A | REM | 165
1 | KLOCKNER-MOELLER | PKZM0-0.63 | Manual Motor Protector Circuit-Breakers, 3-pole, Ir 0.63 | REM | 190
1 | KLOCKNER-MOELLER | PKZM1-1,5 | Thermal Magnetic Circuit Breaker for motor protection Adjustment range (amperage): 0.95 - 1.5 A | REM | 229
1 | DELIXI ELECTRIC | CDP6-32 | Motor Circuit Breaker - Current range 4A ~ 6.3A | REM | 55
NOISE FILTERS
1 | KEB AUTOMATION | 14E5T60-1061 | EMC FILTER (I/O Filter 3-phases 480 V AC (Umax = 530 V), 50/60 Hz ± 10%) 14E5T60-1061 / 14E5T601061 / 14.U5.B0D-3010 | REM | 1017
3 | SIEMENS | B84299-K55 | Noise Filter - 4 Line 4 X 16A 16 AMPS | REM | 400
1 | NEMIC-LAMBDA | MYB-1220-33 | NOISE FILTER 250VAC, 20A | REM | 80
1 | NEMIC-LAMBDA | MYB-1210-33 | NOISE FILTER 250VAC, 10A | REM | 57
1 | NEMIC-LAMBDA | MBS-1210-22 | NOISE FILTER 250VAC, 10A | REM | 57
1 | OKAYA | SUP-P5H-E1PR-4 | NOISE FILTER SINGLE PHASE 250 VOLT AC 5 AMP SCREW TERMINAL 50/60 HZ | REM | 73
1 | Schaffner | FN2060-6-06 | Power Line Filter, Chassis, 6 A, 250 VAC, EMI, RFI, Quick Connect, 970 µH, 0.22 µF | REM | 43
1 | Schaffner | FN610-6-06 | Power Line Filter, Chassis, 6 A, 250 VAC, EMI, RFI, Quick Connect,0.75 mH, 0.033 µF | REM | 28
1 | STANLEY | SH12-5 | LC FILTER | REM | 40
1 | STANLEY | SH12-3 | LC FILTER | REM | 40
1 | POWERTEK | CP3-1012A | EMI Line Filter, 115/250V 10A | REM | 120
1 | TDK | ZAC2205-00U | NOISE FILTER 250VAC, 5A | REM | 129
1 | Epcos | B84111AB110 | Power Line Filter 115/250V 20A | REM | 45
1 | Bit | CA5V22 | Noise Filter 250V 1.5 A | REM | 40
POWER INLETS WITH FILTERS
1 | DELTA ELECTRONICS | 03GENW3ES-R | Power Inlet with Filter Input Socket 3 A 250 VAC | REM | 9
1 | DELTA ELECTRONICS | 03GEEW3E | Power Inlet with Filter Input Socket 3 A 250 VAC | REM | 16
1 | DELTA ELECTRONICS | 03GEEG3E | Power Inlet with Filter Input Socket 3 A 250 VAC | REM | 9
1 | Schaffner | FN9222-6-07 | Power Inlet with Filter Input Socket 250VAC 6 A | REM | 13
1 | Yunpen | YB06T1 | Power Inlet with Filter Input Socket 250VAC 6 A | REM | 14
1 | SCHURTER | 5200.0643.1 | Power Inlet with Filter and fuse holder 6 A 250 VAC | REM | 31
1 | Inalways | 0717-1S-PQ12N-H | Fused and Switched IEC Inlet - 10A 250 VAC | REM | 5
1 | ASTEC | CDJ-3-2 | Fused IEC Inlet - 10A 250 VAC | REM | 5
1 | TE CONNECTIVITY CORCOM | PS0S0SS6A | POWER ENTRY MODULE 6A P SERIES PLUG 250VAC 6A PANEL MOUNT QUICK CONNECT | REM | 39
LIGHTNING PROTECTION TECHNOLOGIES
1 | SHENZHEN HAIPËNGXIN ELECTRONICS | SPD385-65L-MH | Surge protection For 3 Phases AC Power Supply | REM | 200
2 | Sichuan Zhongguang | ZGG40-385 (3+1) | Modular Power Supply SPD Lightning Protection | REM | 100
1 | Huawei | SPD60-3P-MH | Surge protection For 3 Phases AC Power Supply | REM | 100
IGBT MODULES & RECTIFIERS
3 | MITSUBISHI ELECTRIC | QM150DY-H | TRANSISTOR MODULE 150 AMP I(C) DC 1000 V 75 HFE DC CURRENT GAIN 7 V EMITTER-BASE VOLTAGE | REM | 443
2 | MITSUBISHI ELECTRIC | TM25T3AH | TRANSISTOR BLOCK MODULE FLANGE MOUNT | REM | 291
1 | MITSUBISHI ELECTRIC | BCR30GM12L | TRIAC ISOLATED 600 V 30 AMP | REM | 45
2 | MITSUBISHI ELECTRIC | BCR16GM | TRIAC ISOLATED 400 V 16 AMP | REM | 109
1 | FUJI ELECTRIC | EVL31-050 | POWER BIPOLAR TRANSISTOR 100A I(C) 600V V(BR)CEO 2-ELEMENT NPN SILICON PLASTIC/EPOXY 6 PIN | REM | 319
2 | FUJI ELECTRIC | 2DI200A-050 | POWER TRANSISTOR MODULE 200AMP 500V NPN POLARITY / CHANNEL TYPE | REM | 657
5 | FUJI ELECTRIC | 2DI30D-050A | BIPOLAR TRANSISTOR POWER MODULE 600V 30A -- 2DI30D050A | REM | 254
1 | TOSHIBA | MG50G1BL3 | POWER BLOCK MODULE 50AMP 600V | REM | 248
1 | TOSHIBA | S6894J FH4-5450-01 | IGBT MODULE | REM | 150
1 | MITSUBISHI ELECTRIC | RM15TA-H | Bridge Rectifier Diode, 3 Phase, 30A, 800V V(RRM) | REM | 217
1 | MITSUBISHI ELECTRIC | RM10TBH | Bridge Rectifier Diode, 3 Phase, 20A, 800V V(RRM) | REM | 22
1 | MITSUBISHI ELECTRIC | RM30CZ-H | DIODE MODULE 30AMP 800V | REM | 156
1 | INTERNATIONNAL RECTIFIER | IRKC91/08 | Standard Diode Power Module, IRK Series | REM | 219
2 | SHINDENGEN | D30VT60 | 3 PHASES RECTIFIER DIODE | REM | 20.4
1 | SHINDENGEN | S30VT80 | 3 PHASE RECTIFIERS BRIDGE 800V 30AMP | REM | 79
1 | IXYS | VUO125-12NO7 | 3 PHASES Bridge Rectifier Module, 175A 1200V | REM | 207
2 | POWERSEM | PSD-36/08 | 3 PHASES Rectifier Bridge - 800-1800 V - 35 A | REM | 47
2 | SETZERMANN | S61-B2U36-02 | 1 PHASE Rectifier Bridge - 1 kV, 4 A | REM | 20
3 | Lenze | 6002 | 1 PHASE Rectifier Bridge 1.5 A | REM | 20
2 | NEW JERSEY SEMI | 30MF20 | RECTIFIER DIODE 1 PHASE 1 ELEMENT 30A 400V | REM | 60
CAPACITORS & VARISTORS
1 | OKAYA | 3XYG1003 | CAPACITOR 0.1 UFD 440 VAC 3 PHASE 0.1uF x 3/0.003 uF x 3 - 440 VAC - 50/60 Hz - XYCAPACITOR | REM | 15
1 | OKAYA | CRE-50500 | CAPACITOR CR SERIES SPARK QUENCHER 250 VAC 0.5UF 50 OHM | REM | 13
1 | TDK LAMBDA | MPP-2J225K | RECTIFIER MODULE | REM | 33
2 | TDK LAMBDA | 2J225K | CAPACITOR 2.2 uF 250 V | REM | 25
3 | SHIZUKI ELECTRIC | CME-25B355D | CAPACITOR 3.5 uF 250VAC | REM | 28
1 | SHIZUKI ELECTRIC | SJG-F2-09 | CAPACITOR 7 uF 250 V | REM | 37
1 | HITACHI | P474K630L6 | FILM CAPACITOR 470 nF | REM | 3
2 | ICRE | 47OHM-0,5UF-630V | FILM CAPACITOR 47OHM 0,5UF 630V | REM | 3
14 | ROXBURGH EMC | XEB1201 | RC NETWORK XEB SERIES 0.1 UF CAPACITANCE 120 OHM RESISTANCE 500 MW 250 VAC | REM | 5.24
1 | WENLING HANDING ELETCRIC | CBB61 2UF 450 VAC | FAN CAPACITOR MOTOR RUN 2 UF 450 VAC 50/60 HZ | REM | 37
1 | Sichuan Zhongguang | SGGQ40-260 | MODULAR POWER SUPPLY SPD - MOV power module | REM | 2.54
1 | SIEMENS | 3RT1926-1BD00 | VARISTOR 127-240VAC/150-240VDC | REM | 15
5 | EPCOS | B72220S0621K101 | VARISTOR 1KV 6.5KA DISC 20MM S20K625 RADIAL | REM | 1.8
SCREW TERMINALS CAPACITORS
1 | HITACHI | HCGF3A-560MFD-400VDC | CAPACITOR 560 MFD 400 VDC SURGE 500 VDC | REM | 70
2 | NICHICON | CR33000U50 | CAPACITOR SCREW TERMINALS ELECTROLYTIC 33000UF 50V | REM | 132
2 | NIPPON CHEMICON | CEB400V18000 | CAPACITOR SCREW TERMINALS 400V 1800 UF | REM | 68
4 | NIPPON CHEMICON | CEKW63 | CAPACITOR SCREW TERMINALS 63V 2200 UF | REM | 33
3 | VISHAY ROEDERSTEIN | EYM/B | SCREW TERMINAL ELECTROLYTIC CAPACITOR 4700UF 63V GOLD COLOR (102 PHR-ST) | REM | 34
MOTOR STARTER CAPACITORS
1 | COMAR CONDENSATORI | MKA 16 UF | CAPACITOR 16 UF 450VAC 50/60 HZ 2WIRE | REM | 42
1 | COMAR CONDENSATORI | MKA 25 UF | UNIVERSAL MOTOR STARTER CAPACITOR/CONDENSER FOR GENERAL ENGINES | REM | 42
1 | DUCATI ENERGIA | PPM 416.53.2351 | 3 PHASE POWER FACTOR CORRECTION CAPACITOR 123.1µF 415VAC 6.66kVAR M12 SCREW | REM | 248
1 | ELECTROSTART | MKP 18 UF | FACTOR CORRECTION CAPACITOR | REM | 15
1 | MSL PARTS | CBB60 | MOTOR CAPACITOR 12 UF 450 VAC 50/60 HZ | REM | 12
POWER RESISTORS
7 | MICRON | 25R-220W-K | ALUMINIUM HOUSING BRAKING RESISTOR 220W 25 OHM K TOLERENCE | REM | 105
1 | MICRON | 1R-80W-J | ALUMINIUM HOUSING BRAKING RESISTOR 80W 1 OHM 2WIRE | REM | 80
1 | MICRON | BK0-C2146-H56 | BRAKE RESISTOR 120WATT 100 OHM K-TYPE 2WIRE | REM | 55
4 | MICRON | 43RJ x 4 | Chassis-Fixed Heat Dissipation Type N Power Resistor - 43 OHM x 4 - J Tolerence | REM | 140
6 | MICRON | 40H-50R-J | POWER RESISTOR CERAMIC CEMENT J TOLERENCE | REM | 40
2 | MICRON | 20H-15R- K | POWER RESISTOR CERAMIC CEMENT KTOLERENCE | REM | 20
1 | MICRON | 15H-350R-J | POWER RESISTOR CERAMIC CEMENT J TOLERENCE | REM | 15
1 | SIEMENS | 4EJ9900-1EG | Discharge Reactor 230-600V Din Mount | REM | 227
3 | SIEMENS | ESB-S20 | Inrush current limiter | REM | 150
1 | SIEMENS | ESS20 | Inrush current limiter | REM | 150
2 | VISHAY | FSOT3009E1R800KE | Wirewound Chassis Mount Resistor 1.8 Ohms ±10% 30W | REM | 44
1 | VISHAY | FSOT5509ER5000KE | Wirewound Chassis Mount Resistor 500 mOhms ±10% 55W | REM | 107
1 | VISHAY | RH5062R00JS03 | WIREWOUND RESISTOR 62 OHMS 50W 5% CHASSIS MOUNT | REM | 50
2 | VISHAY | ZWS100E | 100 OHM 100W Adjustable Cemented Wirewound Resistor with Lugs | REM | 75
1 | Vishay Sfernice | RLPA 25,138 | 10KOHM 10% Power Resistor | REM | 75
4 | Vishay Sfernice | RH10 | 0Ω047 Fixed Resistor 5% B9 | REM
1 | NOBLE | A60 RGH150 | Brake Resistor 47 OHM | REM | 80
3 | NOBLE | B60 RGB20 | Cement-Filled, 20W, Power Resistor 50 mOhm (0.050 Ohm) | REM | 40
2 | IWAKI | RH220B | BRAKE RESISTOR 25 OHM | REM | 273
2 | IWAKI | 25SHX2-11 | Power Resistor | REM | 70
3 | IWAKI | 40SH | 25 Ohm J Power Resistor | REM | 16
3 | COSMOS | RA30Y-20S-B102 | POTENTIOMETER 1KOHM RA30Y-20SB-1K | REM | 81
2 | PIGEON | 20H-200R | CEMENT POWER RESISTOR 20W 200 OHM | REM | 20
2 | PIGEON | 20W-10R | CEMENT POWER RESISTOR 20W 10 OHM | REM | 20
2 | SANYA | 20A/60MV | Shunt Resistor | REM | 100
5 | Umbranded | UMBRANDED | Set of Power Resistors | REM | 50
UNIVERSAL DEVICE PROGRAMMER
1 | MICROCHIP TECHNOLOGY INC | DV007004 | Universal Device Programmer, PM3, Fast Programming, Large LCD Display, ICSP support, 40-pin socket | REM | 2665
1 | NXP SEMICONDUCTOR | M68CYCLONEPROE | IN-CIRCUIT DEBUGGER/PROGRAMMER | REM | 1459
1 | HI-LO SYSTEMS | ALL-11C2 | Universal Device Programmer | REM | 1100
1 | SAGEM COMMUNICATION - SAFRAN | 252254682 - VERSION 620A | MOBILE PROGRAMMER - 252254682 - VERSION 620A | REM | 200
SOLDERING SYSTEMS
1 | OK INTERNATIONAL | SP-PW1-20 | POWER SUPPLY FOR SOLDERING SYSTEM 230VAC 50HZ 0.25A SP200 | REM | 195
1 | WELLER SOLDERING | T0052920199 | Soldering Iron, 24V, 120W, for use with WX Stations WXP 120 24/120W | REM | 364
1 | WELLER SOLDERING | T0053313399 | Desoldering Tweezers, 50W Output 24V WTA 50 24/50W | REM | 324